## Slide 1: Using the fluorescence microscope

## Slide 2: The inverted scope

## Slide 3: Objectives are beneath the specimen

## Slide 4: Room to manipulate the specimen

## Slide 5: Using transmitted light: Turn on the lamp

## Slide 6: Point image to eye

## Slide 7: Select A for brightfield

## Slide 8: Microscope assignment
Stage micrometer to the eye
  10X brightfield (A)
  10X phase (Ph1)
  40X phase (Ph2)
Stage micrometer to the camera (SIDE)
  Adjust focus
  Adjust light
  Adjust exposure time

## Slide 9: Using emitted light
Turn on the power
Ignite the arc lamp
DO NOT TURN OFF

## Slide 10: Viewing cells
Get cells in focus in phase
Rotate filter B into place
  Blue light shines on specimen, green to eye
  Open shutter (O)

## Slide 11: Open this shutter, too